## Sheet1
Process: Managemnt of Science Laboratories
Purpose: To ensures efficient operation of practical lessons in the science laboratory
Output: Well skilled Graduates in practical work
| ACTIVITIES | Inputs | RISK | RISK LEVEL | RISK IMPACT | MITIGATION | OPPORTUNITY | ACTIONS
1 | Conduct of Practicals | Lab Technicians | Lab accidents | High | High | Adhereance to lab rules and regulations | Use of technology
|  | Lab Equipments/Materials | Inadequte personnel |  |  | Capacity building
|  | lab coats | Inadequte resources |  |  | Follow lab schedule
Lab procedures
Lab schedules
Timetable
Lab requisition forms
Lab Attendance sheets
Lab reports
Lab rules and regulations
2 | Care and Safety in the Laboratory Personnel |  | Lab accidents | High | High | Adhereance to lab rules and regulations | Use of technology
|  | Lab Technicians | Inadequte personnel |  |  | Capacity building
|  | laboratory safety guide | Inadequte resources |  |  | Follow lab schedule
|  | Lab safety manual |  |  |  | Installation of fire extinguishers
Lab attendance list
Lab warning labels
Lab fire extinguisher
first aid kits
3 | Calibration of Laboratory Equipment | Calibration schedule | Inadequte personnel | High | High | Regular serviicng of the callibration machines | Use of technology
|  | Lab technician | Defective calliberation machines |  |  | Capacity builidng
|  | Label on dates of calibration and next calibration | Inadequte resources |  |  | Use of technology
|  | Lab daily routine reports | Poor reports
4 | Care and Maintenance of Laboratory Equipments | Lab technicians | Inadequte personnel | High | High | Regular invitation of manufacturers/dealers for repair of the equipments whose dates are due | Use of technology
|  | Laboratory Equipments | Defective machines |  |  | Capacity building | Capacity building
|  | Lab maintenance schedules | Inadequte resources |  |  | Regular maintenance of lab equipments
|  | Regular Lab maintenance reports | Poor reports
Lab maintenance registers
Lab requisition forms